Algocyte MHS Device Calibration - Report

- Study information

| Test Plan Reference | TP-007-029 |
| --- | --- |
| Test Report Reference | TP-007-029-01 |
| Date of Calibration | 02-09-2026 |
| Lab Location | OIA BioLab |
| Calibration Performed by | Martin |
| Report Prepared | 18-06-2026 |

Tested Instruments

| # | Device | Device ID | Device Model | Serial Number |
| --- | --- | --- | --- | --- |
| 1 | Unit 5 | 24 | MHS1.8 | B-XI24-005 |
| 2 | Unit 6 | 25 | MHS1.8 | B-XI24-006 |
| 3 | Unit 7 | 26 | MHS1.8 | B-XI24-007 |

2. References

- TP-007-029 Algocyte MHS Analytical Calibration Protocol

- [Raw data.xlsx] - raw data used for this study

3. definitions

| Term | Definitions |
| --- | --- |
| Batch ID | Unique test number |
| Sample ID | Sample identifier (name) |
| Device ID | Unique identifier of the Algocyte MHS device |
| global_flag | Internal quality check |

4. deviations fom protocol

[None.]

5. observations

[……]

6. Experimental Conditions

6.1. Hardware and software version

| # | Device | Firmware Version | App Version |
| --- | --- | --- | --- |
| 1 | Unit 5-7 |  |  |

6.2. Blood Samples Collected for the Study

A total of [36 fresh blood] samples were purchased and collected at OIA. The complete list of samples is provided in the Excel file [Raw data.xlsx].

6.3. Blood Samples Removed from the Calibration Process

Samples may be re-run or excluded from the data analysis under the following circumstances:

1. Laboratory Processing Errors
Errors caused by technical problems of the device, operator mistakes, such as measurement of the wrong sample, use of the wrong device, scanning of an incorrect Test Kit ID, or identification of suspected outliers during interim checks. These samples were excluded, cancelled, and/or re-run as appropriate. A list of such samples is provided in Appendix A.

2. Statistical Outlier Detection
Results identified as outliers using the appropriate statistical methods were excluded from the analysis. The methodology for outlier detection is described in [SPEC-007-034 APT Trueness Data Analysis Methodology]. A list of these excluded samples is provided in Appendix C.

7. method of data analysis

…...

8. results

| Measurand | Condition LOW |  | Condition HIGH |  |
| --- | --- | --- | --- | --- |
|  | Slope | Intercept | Slope | Intercept |
| HGB |  |  |  |  |
| HCT |  |  |  |  |

#……Please add GRAPHS here

9. conclusion

…...

10. appendix

Appendix A. Laboratory Processing Errors

| Batch ID | Sample ID | Device ID | Rejection Reason |
| --- | --- | --- | --- |

Appendix B. Statistical Outliers Detection

| Batch ID | Sample ID | Device ID | Measurand |
| --- | --- | --- | --- |